- Where would you find the address of the project in a set of plans?

- Where would I find the total building area?

- Where do you find information about the flood zone?

- How would you find out how many rooms there are in a building?

- How would I find out if the building is ADA compliant?

- Where do I find the designer’s information in  a set of plans?

- What are my options to find what kind of materials the roof is made of?

- Where can I find information about the wall assembly?

- Where would I find information about the plants that I am to install?

- How can I tell if Air Conditioning Units are used in the building?

- Where does the architect put instructions on how something is to be fabricated?

- Where would I find information about what handrails are to be made of?

- Where would I find the dimensions of the exterior wall assembly?

- Where would I find information about irrigation for plants?

- How do I find out how many parking stalls there are?

- Where do I find information about inspection requirements?

- What is a  storm door? How Is it different than a regular entry door?

- Where would I look in the plans to figure out where the project is located in a

particular part of town?

- What is a reflected ceiling plan and how can it be used to purchase the right number of fixtures?

- Where would I find information about the concrete dimensions on the ground level of the building?

- How can I discover how tall a building is? (Hint: one is for the code reviewer, and the other location is for the builder)

- Where would I expect to find the names of the plants that are to be planted at the project? 

What is a plumbing schedule? Can there be more than one listed in a drawing?

- Identify these symbols:

1.

2

3.

4.

5.

6.

7.

8.

9.

10.

- What is the difference between an isometric plumbing plan and a one line electrician diagram?

- What is a change order? What causes a Change Order?

- What is the Construction Specifications Institute?

- What is the CSI Masterformat?

- What is the difference between a direct cost and indirect cost when estimating a construction project?

- Define HVAC in construction.

- What are the differences between low voltage, Medium Voltage and High voltage electricity systems?

- What role does the architect serve on the construction team? What role does the Project engineer serve? Superintendent?

- What is the Uniform Drawing System ? How does plan organization correlate to the Letters next to page numbers?

- What is a request for proposal?

- What is a Request for Information?

- What is the Owner Architect Contractor Meeting?